## Slide 1: MRS
Vincent A. Magnotta, PhD
Professor, Radiology
Director, MR Research Facility
October 16, 2019

## Slide 2: Imaging Methods to Assess Metabolism
MR Spectroscopy
  1H MRS
  31P MRS
Proton Exchange
  CEST - Chemical Exchange Saturation Transfer
  T1ρ - T1 relaxation in the rotating frame
MR contrast agents
  PARACEST Agents
  Gd
Pros / Cons
  MRS techniques specific and contain a number of metabolites
  MRS typically low resolution since signal 104 – 105 weaker than water signal

## Slide 3: MRS Sequences
PRESS
STEAM

## Slide 4: MRS Spectrum

## Slide 5: Metabolites Visible

## Slide 6: Water Suppression
Minimize water signal
  CHESS
  MOIST
  VAPOR
  WET

## Slide 7: Proton MRS

## Slide 8: Chemical Shift Imaging

## Slide 9: 1H Visible Metabolites
NAA - neuronal and axonal integrity
Creatine & phosphocratine– brain energy metabolism
Choline - membrane turnover / cell division
Lactate – indicator of glycolosis
Tau - modulation of calcium, osmoregulation and membrane stabilization
Myo-inositol - role in structural basis
Glutamate
Glutamine
Lipids
Creb Cycle

## Slide 10: 31P Spectrum Example

## Slide 11: Reliability of 1H MRS Metabolites from the Cerebellar Vermis at 7T
Metabolite | Coefficient of Variation (CV)
Cho | 1.03
Cr+PCr | 2.77
NAA | 1.65
Glx | 1.31
Gsh | 0.79
mI | 1.18
Asp | 1.41
Tau | 3.27
Localizer + Cal + MRS = 8 minutes
Sequence from Ralph Noeske

## Slide 12: LCModel Analysis

## Slide 13: 31P Spectrum
Early MRS focused on phosphorus spectrum
  Marker for cellular energy metabolism
  Larger chemical shift 30ppm
Metabolites visible in spectrum
  Adenosine triphosphate (ATP)
  Adenosine diphosphate (ADP)
  Phosphocreatine (PCr)
  Inorganic phosphate (Pi)
  Phosphodiester (PDE)
  Phosphomonoester (PME)
Membrane phospholipids
Cellular energy metabolism

## Slide 14: 31P Studies
MR gold-standard for pH measures
  Measure chemical shift between Pi and PCr
  Frequency shift in Pi is dependent on pH and PCr is used as a reference
Low spatial and temporal resolution

## Slide 15: 31P Brain Data
Peak | Coefficient of Variation (%) |  | 
 | HSVD | AMARES | Integration
γ-ATP | 4.9  0.9 | 6.7 2.4 | 4.1 1.7
⍺-ATP | 5.3  4.6 | 4.3  1.1 | 3.6 2.8
β -ATP | 2.1  1.6 | 2.0  0.8 | 1.3 1.0
Work of Jia Xu

## Slide 16: Editing Sequence

## Slide 17: GABA Editing
Sequence from Ralph Noeske
Data from Chris Groth

## Slide 18: 7T CSI Acquisition
Data from Mathews Jacob
Notes: High resolution 2D CSI data collected on the GE MR950 7T scanner using a free induction decay (FID) CSI acquisition. Elliptical sampling used as shown in upper left. The resulting water image reconstructed from the data is shown in the lower left corner. The resulting metabolite maps are shown on the top row and the resulting spectra from the location marked with red squares are shown below.

## Slide 19: Analysis Packages
LCModel – Industry standard from Provencher (1H only)
JMRUI – Freely available (JAVA Based)
SIVIC - Freely Available
GANNET - GABA editing
TARQUIN
OXSA – Matlab based